May 31, 2011

Ms. Cindy Garner

Enforcement Administrator

NPDES Enforcement Section

Arkansas Department of Environmental Quality

5301 North Shore Dr

North Little Rock, Arkansas 72118

RE:  Storm water Blending May 20, 2011 thru May 21, 2011

Russellville City Corporation Pollution Control Works

NPDES Permit No.  AR0021768  AFIN 58-0015

Dear Ms. Garner:

In an attempt to save the City Corporation Pollution Control Works from becoming hydraulically overloaded,  we would provide the following data for the storm water blending event that occurred at the Pollution Control Works, Friday May 20, 2011 and ending Saturday May 21, 2011.   As was conveyed in the initial report this blending was due to excessive storm events experienced in the area.

We would offer the following results:

Gallons blended:  2,805,000 gallons estimated.

## Friday,  May 20, 2011

Total Suspended Solids                   11.6  mg/l            CL2        0.16 mg/l

Dissolved Oxygen	 	 7.5  mg/l	pH	6.38

Ammonia		             0.92  mg/l	BOD 	5.0 mg/l

Fecals			            162/100ml

Sincerely,

Craig Noble

General Manager

cc:	Ricky Biffle

Randy Bradley

File