February 25, 2008

Mr. Greg Hurley

Enforcement Administrator

NPDES Enforcement Section

Arkansas Department of Environmental Quality

5301 North Shore Dr

North Little Rock, Arkansas 72118

RE:  Storm water Blending February 14, 2008 thru February 15, 2008

Russellville City Corporation Pollution Control Works

NPDES Permit No.  AR0021768

Dear Mr. Hurley:

In conformance with Consent Administrative Order LIS 06-114 we would provide the following data for the storm water blending event that occurred at the Pollution Control Works, Thursday February 14, 2008 ending Friday February 15, 2008, as conveyed in the initial reports this blending was due to excessive storm events experienced in the area.

Please see the following results:

Gallons blended:    1,309,000 gallons estimated.

# Thursday February 14, 2008

Total Suspended Solids	26.7   mg/l	CL2		0.28 mg/l

Dissolved Oxygen		  9.2   mg/l	pH		6.54

Ammonia			  .21   mg/l	BOD 		5.3 mg/l

Fecals			             40/100 ml

Sincerely,

Craig Noble

General Manager

cc:	Eddie Duvall

Randy Bradley

File