January 4, 2008

Mr. Greg Hurley

Enforcement Administrator

NPDES Enforcement Section

Arkansas Department of Environmental Quality

5301 North Shore Dr

North Little Rock, Arkansas 72118

RE:  Storm water Blending December 27, 2007 thru December 29, 2007

Russellville City Corporation Pollution Control Works

NPDES Permit No.  AR0021768

Dear Mr. Hurley:

In conformance with Consent Administrative Order LIS 06-114 we would provide the following data for the storm water blending event that occurred at the Pollution Control Works, Thursday December 27, 2007 ending Saturday December 29, 2007, as conveyed in the initial reports this blending was due to excessive storm events experienced in the area.

Please see the following results:

Gallons blended:    6,545,000 gallons estimated.

# Thursday December 27, 2007

Total Suspended Solids	56.3   mg/l	CL2		0.39 mg/l

Dissolved Oxygen		  9.5   mg/l	pH		6.43

Ammonia			  0.15 mg/l	BOD 		5.9 mg/l

Fecals			             54/100 ml

# Friday December 28, 2007

Total Suspended Solids	53.0   mg/l	CL2		0.33 mg/l

Dissolved Oxygen		  9.3   mg/l	pH		6.44

Ammonia			  0.15 mg/l	BOD 		6.4 mg/l

Fecals			           183/100 ml

Sincerely,

Craig Noble

General Manager