February 11, 2011

Ms. Cindy Garner

Enforcement Administrator

NPDES Enforcement Section

Arkansas Department of Environmental Quality

5301 North Shore Dr

North Little Rock, Arkansas 72118

RE:  Storm water Blending February 1, 2011 thru February 1, 2011

Russellville City Corporation Pollution Control Works

NPDES Permit No.  AR0021768  AFIN 58-0015

Dear Ms. Garner:

In an attempt to save the City Corporation Pollution Control Works from becoming hydraulically overloaded,  we would provide the following data for the storm water blending event that occurred at the Pollution Control Works, Tuesday February 1, 2011 and ending Tuesday February 1, 2011.   As was conveyed in the initial report this blending was due to excessive storm events experienced in the area.

We would offer the following results:

Gallons blended:  1,309,000 gallons estimated.

## Tuesday,  February 1, 2011

Total Suspended Solids                   10.1  mg/l            CL2        0.03 mg/l

Dissolved Oxygen	 	 6.7  mg/l	pH	7.03

Ammonia		             2.88  mg/l	BOD 	5.3 mg/l

Fecals			       49,200/100ml

Sincerely,

Craig Noble

General Manager

cc:	Ricky Biffle

Randy Bradley

File