January 9, 2012

Alan Anderson

NPDES Enforcement Section

Arkansas Department of Environmental Quality

5301 North Shore Dr

North Little Rock, Arkansas 72118

RE:  Storm water Blending December 26, 2011 thru December 30, 2011

Russellville City Corporation Pollution Control Works

NPDES Permit No.  AR0021768  AFIN 58-0015

Dear Mr. Anderson:

In an attempt to save the City Corporation Pollution Control Works from becoming hydraulically overloaded,  we would provide the following data for the storm water blending event that occurred at the Pollution Control Works, Monday December 26, 2011 and ending Friday December 30, 2011.   As was conveyed in the initial report this blending was due to excessive storm events experienced in the area.

We would offer the following results:

Gallons blended:  19,635,000 gallons estimated.

## Monday,  December 26, 2011

Total Suspended Solids                     8.8  mg/l             CL2        0.48 mg/l

Dissolved Oxygen	 	 9.5  mg/l	pH	6.62

Ammonia		               .09  mg/l	BOD 	2.7 mg/l

Fecals			              59/100ml

## Tuesday,  December 27, 2011

Total Suspended Solids                   18.7  mg/l             CL2        0.48 mg/l

Dissolved Oxygen	 	 8.4  mg/l	pH	6.36

Ammonia		             1.58  mg/l	BOD 	10.6 mg/l

Fecals			            520/100ml

## Wednesday,  December 28, 2011

Total Suspended Solids                   12.7  mg/l             CL2        0.41 mg/l

Dissolved Oxygen	 	 8.9  mg/l	pH	6.75

Ammonia		             1.14  mg/l	BOD 	7.0 mg/l

Fecals			            400/100ml

## Thursday,  December 29, 2011

Total Suspended Solids                     8.7  mg/l             CL2        0.21 mg/l

Dissolved Oxygen	 	 9.3  mg/l	pH	6.69

Ammonia		                .55  mg/l	BOD 	4.4 mg/l

Fecals			         1,995/100ml

## Friday,  December 30, 2011

Total Suspended Solids                     9.5  mg/l             CL2        0.31 mg/l

Dissolved Oxygen	             8.80  mg/l	pH	6.78

Ammonia		               .31  mg/l	BOD 	4.2 mg/l

Fecals			            220/100ml

Sincerely,

Craig Noble

General Manager

cc:	Ricky Biffle

Randy Bradley

File