May 31, 2011

Ms. Cindy Garner

Enforcement Administrator

NPDES Enforcement Section

Arkansas Department of Environmental Quality

5301 North Shore Dr

North Little Rock, Arkansas 72118

RE:  Storm water Blending May 23, 2011 thru May 24, 2011

Russellville City Corporation Pollution Control Works

NPDES Permit No.  AR0021768  AFIN 58-0015

Dear Ms. Garner:

In an attempt to save the City Corporation Pollution Control Works from becoming hydraulically overloaded,  we would provide the following data for the storm water blending event that occurred at the Pollution Control Works, Monday May 23, 2011 and ending Tuesday May 24, 2011.   As was conveyed in the initial report this blending was due to excessive storm events experienced in the area.

We would offer the following results:

Gallons blended:  4,488,000 gallons estimated.

## Monday,  May 23, 2011

Total Suspended Solids                   14.8  mg/l            CL2        0.21 mg/l

Dissolved Oxygen	 	 8.0  mg/l	pH	6.46

Ammonia		             0.10  mg/l	BOD 	5.4 mg/l

Fecals			              68/100ml

## Tuesday,  May 24, 2011

Total Suspended Solids                   14.9  mg/l            CL2        0.07 mg/l

Dissolved Oxygen	 	 7.4  mg/l	pH	6.40

Ammonia		             0.45  mg/l	BOD 	6.8 mg/l

Fecals			         8,800/100ml

Sincerely,

Craig Noble

General Manager

cc:	Ricky Biffle

Randy Bradley

File