November 16, 2011

Mo Shafii

Enforcement Administrator

NPDES Enforcement Section

Arkansas Department of Environmental Quality

5301 North Shore Dr

North Little Rock, Arkansas 72118

RE:  Storm water Blending November 8, 2011 thru November 9, 2011

Russellville City Corporation Pollution Control Works

NPDES Permit No.  AR0021768  AFIN 58-0015

Dear Mr. Shafii:

In an attempt to save the City Corporation Pollution Control Works from becoming hydraulically overloaded,  we would provide the following data for the storm water blending event that occurred at the Pollution Control Works, Tuesday November 8, 2011 and ending Wednesday November 9, 2011.   As was conveyed in the initial report this blending was due to excessive storm events experienced in the area.

We would offer the following results:

Gallons blended:  2,618,000 gallons estimated.

## Tuesday,  November 8, 2011

Total Suspended Solids                   12.1  mg/l             CL2        0.32 mg/l

Dissolved Oxygen	 	 7.9  mg/l	pH	6.99

Ammonia		             0.39  mg/l	BOD 	3.4 mg/l

Fecals			            452/100ml

## Wednesday,  November 9, 2011

Total Suspended Solids                   26.3  mg/l             CL2        0.33 mg/l

Dissolved Oxygen	 	 8.4  mg/l	pH	6.77

Ammonia		             1.71  mg/l	BOD 	10.7 mg/l

Fecals			            125/100ml

Sincerely,

Craig Noble

General Manager

cc:	Ricky Biffle

Randy Bradley

File